## Inspection Form
| Workplace Inspection |  |  |  | <Your Logo Here>
Enform Location: | Date: |  |  |  | Completed By:
Department: | Acceptable? |  | Hazard Priority
Inspection Items | Yes | No | Severity 1-4 | Probability 1-4 | Description of Condition Requiring Attention
Housekeeping
Counters, tables, work surfaces in good condition
Floor clear of debris
Flooring in good condition
Garbage cans clean and empty
Mops, pails, brooms neatly stored
Slip/trip hazards identified and corrected
materials not stored on floor in walkways or blocking exits
Proper storage of tools and supplies
Sinks clean, taps in good working order
Storage areas orderly
Washrooms clean
Service Rooms free of clutter (Gas Room, Mechanical Room) Parking lot clean and cleared as appropriate for weather conditions
Environment
Adequate lighting in work area/parking lots
Compressed gas cylinders secured and stored upright
Corner mirrors in adequate locations if required
Disposal containers clear of debris
Ventilation adequate to eliminate dust, fumes or vapours when present
Flammable/toxic material stored away from heat and fuel sources
Forklifts secured, keys out of ignition when not in operation
Hazardous chemical storage adequate
Hazardous chemicals labelled and stored in approved cabinet or area
Inspection Items | Yes | No | Severity 1-4 | Probability 1-4 | Description of Condition Requiring Attention
Decanted chemicals are properly labelled and identifiable
Loading areas clear of obstructions
MSDS sheets available and all MSDS's are current to 3 years
Security doors closed and locked
Spill kits available and fully stocked
Stock/supplies stacked neatly
Fire Protection
Evacuation plans posted and clearly show external assembly area
Exit signs displayed and illuminated with no burnt bulbs
All Exits are clear - materials not blocking
Fire Extinguisher monthly inspections signed off on tag
Fire Extinguishers have been re-certified in the last 12 months
Fire Extinguishers in place and mounted in bracket
Fire Extinguishers 1 metre free of obstruction
Fire hoses easily accessible
Fire pull boxes 1 metre clear of obstruction
Fire pull boxes signage clearly displayed
Sprinkler heads 18" clear of obstruction
First Aid
Sharps containers in place
Names of First Aiders displayed at each first aid kit
Expiry date on Eye wash bottle solution is current
Eye wash stations clean, tidy and unobstructed with 1 metre clearance
First Aid kit properly stocked as per contents list
Action Card forms available
Signs
First Aid signs clearly displayed
Eye wash station signs clearly displayed
Flashlights in place and operational
Inspection Items | Yes | No | Severity 1-4 | Probability 1-4 | Description of Condition Requiring Attention
Fire Extinguisher signs clearly displayed
Personal Protective Equipment
Hearing protection
Protective gloves/sleeves
Safety Footwear
Safety glasses, goggles
Material Handling Equipment
Batteries for forklift/pallet jacks safely stored and charged
Powered Mobile Equipment daily pre-use inspections completed
Hand carts, trollies, dollies in working condition
Only employees with forklift training are operating forklifts
Pallet jacks operating properly
Safety signage in place
Step stools, ladders in good condition
Electrical
Bulbs burnt out
Compressors clear of obstruction
Electical cords secured
Electical panels clear of obstruction
Extension cords used for temporary purposes only
Electrical cords not damaged
Emergency lighting operational
Light switches working
Lock out (electricity off) when machinery cleaned/serviced
Additional comments regarding inspection: